Protocol S1.   High Performance Liquid Chromatography

Tablets were processed and analyzed for artesunate according to a modified High Performance Liquid Chromatography (HPLC) method [25].  A 150 x 4.6 mm octadecylsilica column and a mobile phase consisting of 45% acetonitrile and 55% 0.05 M perchlorate buffer (pH 2.5) effectively separated artemisinin, paracetamol, and artesunate.  For quantitative paracetamol analysis, the mobile phase was changed to 10% acetonitrile and 90% perchlorate buffer. Components were detected using a diode array detector with wavelengths set at 220 and 254 nm and  UV spectra of samples were compared with artesunate, artemisinin and paracetamol reference standards for validation.