|  |
| --- |
| **SUPPLEMENTARY DATA** |

**S1 Table: Summary of Kato-Katz Quality Assurance (QA)**

|  |  |
| --- | --- |
| Selected for QA: n | 1,270 |
| Completion of Kato-Katz QA: n (%) | |
| Sample selected for QA and tested | 1,227 (95.6) |
| Sample selected for QA but was not tested | 43 (3.4) |
| Sample was not selected for QA but was tested | 13 (1.0) |
| Agreement between original Kato-Katz reading and QA reading: n (%) | |
| Original and QA readings agree | 1,219 (99.3) |
| Original and QA readings do not agree1 | 8 (0.7) |

Notes: 1 n=4 slides were hookworm positive in the original reading and hookworm negative in the QA reading, n=2 were *Ascaris lumbricoides* positive in the original reading and *Ascaris lumbricoides* negative in the QA reading, n=1 were *Ascaris* negative in the original reading and *Ascaris lumbricoides* positive in the QA reading, and n=1 were *Trichuris trichiura* negative in the original reading and *Trichuris trichiura* positive in the QA reading.