Methods S2. MIQE: Reporting requirement for Quantitative PCR Assays

1.Administrative information 
A) Experiment description: 
Quantify 16S rDNA content in the environmental samples

B) Responsible person and contact details 
G.Biesbroek, Research Group Microbiology and Systems Biology, TNO Earth, Environmental and Life Sciences, Zeist, The Netherlands: giske.biesbroek@tno.nl, g.biesbroek@umcutrecht.nl

Sample annotation 
A) Sample description 
Sample ID: Material from human mucosal structures, e.g saliva, nasopharyngeal, oropharyngeal and nares swabs 
Sample description: by extraction method, niche, person and if in the dilution series by dilution 
Template quantity used: 100 fentogram/µl to 1 nanogram/µl

B) Sample role in qPCR assay 
Sample type: saliva spiked with oral bacteria: standard/reference samples
other samples are material from human mucosal structures e.g saliva, nasopharyngeal, oropharyngeal and nares swabs 
Inter run calibrator (false) 
Calibrator sample (true)

Target annotation 
A) Target description 
Target ID: 16S rRNA gene 
 Sequence of primers: 16S Forward1 (5’-CGAAAGCGTGGGGAGCAAA-3’) and 16S reverse primer I 
(5’-GTTCGTACTCCCCAGGCGG-3’) and 16S probe I (FAM-AAAAGATACCCTCGTAGT-MGB)

B)Target role in qPCR assay 
Target type: target of interest

Thermal Cycling Conditions Information 
A) PCR program: 
PCR mix: 12,5 µl Diagnode universal Mastermix (Hotstart Taq NA polymerase, optimized reaction buffer, 4mM MgCl2 and dNTPs), 1 µl of each primer (10µM), 1 µl  of the probe (5µM), 6,5 µl of DNA free water and 3 µl of template DNA. 
Thermal cycling conditions: initial DNA denaturation step 2 min 50 degrees Celsius and 10 min 95 degrees Celsius, followed by 40 cycles of  15 sec 95 degrees Celsius, 1 minute 60 degrees Celsius. 
B) PCR format: 96-well plate A1-G12

Run data 
A) Instrument information 
7500 Fast Real-Time PCR system, Applied Biosystems, cataloguenr 4351107, Foster City, CA 94404 USA.
Sequence detection software version 1.4.0.25, 7500 Fast System SDS software

B) Information required for each well: on request

Software requirements 
RDML-Support 
Software solutions, including databases, must support the import and export of RDML files: true
qPCR machines must allow the export of raw data for the amplification as well as for melting curves: true