Protocol S1

Protocol of the GenomeLabTM SNPstream® 12-plex Genotyping System (the volume of reagents were prepared for 450 reactions)

Multiplex PCR Reaction:

Primer Pool (10um each)		11.25 µl

dNTPs (10um each)			16.875 µl

10X PCR Buffer II			225 µl

MgCl2 (25mM stock)			450 µl

AmpliTaq Gold (5U/ul)		45 µl

ddH2O						601.875 µl

Total						1350 µl

2 µl of the DNA samples (10 ng/µl) was added to each well of the plate, followed by the addition of 3 µl of multiplex PCR mix. Then plate was centrifuged for 1 min at 1000 RPM

PCR conditions:

94°C for 1 min

94°C for 30 sec

55°C for 30 sec		40 cycles

72°C for 1 min

4°C for storing

Post PCR Purification:

Exo I (10U/ul)			90 µl

SAP (1U/ul)				448 µl

10X SAP Buffer			135 µl

ddH2O					667 µl

Total			 		1350 µl

3 µl of the purification mix was added to each well of the PCR plate and centrifuged it briefly.

Purification conditions:

37°C for 30 min

96°C for 10 min

4°C for storing

Single Base Extension Reaction:

Extension Dilution Buffer				1692.5 µl

Extension Primer Mix (10um each)		13.5 µl

20X Extension Mix					90 µl

DNA Polymerase						9.4 µl

ddH2O								1336.5 µl

Total								3150 µl

7 µl of the extension mix was added to each well of the PCR plate and centrifuged it briefly.

PCR conditions:

96°C for 3 min

94°C for 20 sec

40°C for 11 sec		46 cycles

4°C for forever

Pre Hybridization Washing of the Hybridization Plate:

20X Wash Buffer I		2500 µl

ddH2O					47500 µl

Total					50000 µl

20 µl of the diluted wash buffer I was added to each well of the hybridization plate. The plate was reversed on a clean paper, flung on the sink and centrifuged at 150 RCF for 1 min. This step was repeated twice.

Preparation of Hybridization Solution:

Hybridization Solution	3402 µl

Hybridization Additive	198 µl

Total					3600 µl

8 µl of the hybridization solution was added to each well of the PCR plate and mixed it. Then 15 µl of the mixed solution from PCR plate was added to the hybridization plate and left the plate in a moist chamber at 42°C for two hours.

Post-Hybridization Washing of the Hybridization Plate:

20X Wash Buffer II		781 µl

ddH2O					49219 µl

Total					50000 µl

20 µl of the diluted wash buffer II was added to each well of the hybridization plate. The plate was reversed on a clean paper, flung on the sink and centrifuged at 150 RCF for 1 min. This step was repeated twice. Then the glass of the hybridization plate was cleaned by using methanol.

The hybridization plate was placed in the genotyping system and the manufacturer’s recommendation was followed.

Table The information of primers in the GenomeLabTM SNPstream® 12-plex Genotyping System.

| Panel | SNP | Mutation | Multiplex PCR Primer | Single Base Extension Primer (5’-3’) |
| --- | --- | --- | --- | --- |
|  |  |  | Forward Primer (5’-3’) | Reverse Primer (5’-3’) |  |
| 1 | M50 | T->C | AATACATGGGTCACTCAGTTATGTT | ATTCTTTTTTTCCGATAGGTCC | AGATAGAGTCGATGCCAGCTGCCAACAGCCTACCCAAACCACACC |
|  | M216 | C->T | TATTCATAATCACTTTTATATCCTCAACC | TAAACATGGTTCTAAATCTGAATTCTG | AGCGATCTGCGAGACCGTATAAATTCCTTTATTAAAGAAATGTAA |
|  | P131 | C->T | CCTTCCACTTAGTAACACTCAGA | ATGTAGAGAATTACATGTTGATCATTTT | CGTGCCGCTCGTGATAGAATCAATCATTCTTTGTTATCTGTGTGA |
|  | M122 | T->C | TATATTTACAGCAAACTTGGTAAACTCTAC | TTTGAGAGTCACTTGCTCTGTG | GTGATTCTGTACGTGTCGCCGAAAAGCAATTGAGATACTAATTCA |
|  | M207 | A->G | TTCAACCTCTTGTTGGAAGATT | TTAAGTTTATCAGAAGAAAGGAAAAATC | GGATGGCGTTCCGTCCTATTTTCAAAAGGTATTGTTATTCTCTTT |
|  | M101 | C->T | AGCCTGCCTGTTTGGTTC | AGGATCCCAGTTCCTGCA | ACGCACGTCCACGGTGATTTATTTAGCCAAAATATTTTTTTTTTA |
| 2 | M95 | C->T | TTGGGATCAAATGGAGTTCC | TTACATCCCTAGTAAGTCTGGACTCT | AGCGATCTGCGAGACCGTATATAAGGAAAGACTACCATATTAGTG |
|  | P201 | T->C | TGTGCTGTGCAAGTTGTGT | AGTTAAGCAATGAAGGTAGAAGGG | GGATGGCGTTCCGTCCTATTTCTTGGTTAAGTCATTTGATCTCAG |
|  | P36 | G->A | TATCCATCCATTGTGTATCTTTATCTAT | GGAGAGAGAAAAAGAGAGAGAGAGA | ACGCACGTCCACGGTGATTTCATCTATCTATCCATTATTCTCTCT |
|  | JST002611 | C->T | TGGAGTCGGAAGCCGAGG | AGTGCCTTCTGGCGCAGA | CGTGCCGCTCGTGATAGAATTCCAGAGCCCTGCTAGTAGGCACCA |
| 3 | M231 | G->A | AAAATGTGGGCTCGTTTTAAT | ACAGAAATTACAGGTATGAATTCTTTG | GCGGTAGGTTCCCGACATATAACATTTACTGTTTCTACTGCTTTC |
|  | M88 | A->G | TAAACCCAATATAGGCTATGGC | ACTATATGCTACACAGTGCTAGAGAGG | AGCGATCTGCGAGACCGTATCTTTTCTTATTCCTGCTTCTTCTGC |
|  | M134 | -1bp | ATCAAACCCAGAAGGGTTAAA | AATTCTCATTTACCACTGTGGAG | CGACTGTAGGTGCGTAACTCAAAAAGAAAAGGCCCAGGAAAGTAT |
|  | M164 | T->C | CTTGCAGAGTTGCTGTCCA | CAGGATTTTACCAAATGTTTAATATGT | ACGCACGTCCACGGTGATTTATCTATGCAATAATTAAACTGTGTA |
|  | P191 | A->G | GCAAATAGTAGCAGAAACCTTATT | TAACATTTGACATGTGGTAGGAG | CGTGCCGCTCGTGATAGAATAGAAAGGTATAGTGTTCAAAATGTA |
|  | M174 | T->C | AGACCCATCTTGCAAGGAA | AAAATGTACGTTTTTGGTTTACTCA | GGCTATGATTCGCAATGCTTCAAATGCACCCCTCACTTCTGCACT |
|  | P203 | G->A | TTTTTGAAGGCTACATGGAAAT | GTATTTTTAATTCTCACTTAGCACATATACA | GGATGGCGTTCCGTCCTATTGTTGGCTATTGAGTTAGCATAATCA |