Table S1. Signals obtained for monoclonal antibody complementary tests

| Capture mAbs | Biotin-labelled mAbs |
| --- | --- |
|  | TA1 | TA2 | TA4 | TA5 | TA7 | TA9 | TA10 | TA11 | TA12 | TA13 | TA14 | TA15 | TA16 | TA17 |
| TA1 |  | + | +++ |  | +++ | + | +/- | + | ++ | ++ | ++ |  | ++ | ++ |
| TA2 | + |  | ++ | + | ++ |  |  |  |  | ++ |  | + | + | ++ |
| TA4 | + | + |  | + |  | + |  | + | + |  | + | + | + |  |
| TA5 |  | + | +++ |  | +++ | + | +/- | + | ++ | +++ | ++ |  | ++ | ++ |
| TA7 | + | +/- |  | + |  | +/- |  | +/- | + |  | + | + | + |  |
| TA9 | ++ |  | ++ | ++ | ++ |  | + |  | + | ++ | ++ | + | ++ | ++ |
| TA10 | + |  | ++ | + | ++ | + |  |  |  | ++ | +/- | + | + | + |
| TA11 | + |  | ++ | + | ++ |  |  |  |  | ++ |  | + | + | ++ |
| TA12 | ++ |  | ++ | + | ++ | + |  |  |  | ++ |  | + | +/- | ++ |
| TA13 | + | + |  | + |  | +/- |  | + | + |  | + | + | + |  |
| TA14 | ++ |  | ++ | + | ++ | + |  |  |  | ++ |  | + | + | ++ |
| TA15 |  | + | ++ |  | ++ | + | +/- | + | + | ++ | +++ |  | ++ | ++ |
| TA16 | ++ | + | ++ | + | ++ | + | +/- | + | +/- | ++ | + | + |  | ++ |
| TA17 | + | + |  | + |  | +/- |  | + | + |  | + | + | + |  |

+++ : Signals >1 absorbance unit; ++ : Signals between 1 and 0.5 absorbance unit; + : Signals between 0.5 and 0.1 absorbance unit; +/- : Signals < 0.1 absorbance unit; White squares: No specific signal.

The simultaneous binding of the different mAbs to BoNT/A was analyzed in immunometric tests, with one mAb immobilized on the solid phase while the other was used tracer. Experiments were performed as follows: 10 ng/ml BoNT/A and 100 µl of a 100 ng/ml mAb tracer solution were added to microtitre plate wells coated with one of the mAbs. After 18-h incubation at 4°C, the plates were washed and the mAb tracer signal was measured (colorimetric signal).