Supplementary material 3 - Relationship between SNR and distance from electrode tip

From Fig 6A of Henze et al. (2000), data pairs of extracellular spike amplitude and distance from the soma were extracted. According to the authors (personal communication) these were maximum deflections i.e., . In the main text, the authors also reported extracellular amplitudes >250μV and as high as 600μV. Due to difficulties with achieving concomitant labelling, presumably due to the close proximity of the extracellular electrode to the soma, the distance measurements from the soma were not available. However, the presence of such large extracellular amplitudes clearly demonstrates nonlinearity in the relationship between extracellular amplitude and distance. For function-fitting, we included these extracellular amplitudes in the two non-linear models, and assigned a distance approximately midway to the minimum reported distance of just over 20μm (i.e. 10μm). The baseline noise  was estimated from the dotted line in Fig 6A of Henze et al. (2000). Four models relating  to r were investigated.

# Linear1 (excludes 250 and 600 μV points) and Linear2

# Inverse

Inverse Square

Using the corrected Akaike Information Criterion, the Inverse Square model is 0.48 times as likely as the Inverse model to minimise information loss (see Table S1). In other words, the Inverse model is a better fit than the Inverse Square model (which is far better than Linear2). However, the fitted  is about -5 μm (see Figure S4).

The relative likelihood is given by . Due to the obviously poor fit and low explanatory value, the Linear2 model was excluded from further analysis.