Appendix S-1: Experimental section

Bacterial Strains and Growth Conditions

C. glutamicum strains ATCC 13032 and ATCC 21831 were grown on CASO solid agar plates at 30 °C for 36 h. They were inoculated in 10 mL of CGXII medium (pH 7), consisting of (per liter) 40 g 3-morpholinopropanesulfonic acid, 20 g (NH4)2SO4, 5 g urea, 1 g KH2PO4, 1 g K2HPO4, 0.25 g MgSO4 ∙ 7H2O, 10 mg FeSO4 ∙ 7H20, 10 mg MnSO4 ∙ 7H20, 1 mg ZnSO4 ∙ 7H20, 0.2 mg CuSO4, 0.02 mg NiCl2 ∙ 6H20, 0.2 mg biotin, 0.42 mg thiamine, 0.03 mg protocatechuate and 20 g glucose [36], transferred into 100 mL shake flasks and incubated o/n at 30 °C and 300 rpm. Main cultures, carried out in 250 mL shake flasks with 20 mL CGXII medium, were inoculated from these precultures to an initial optical density of OD600 = 0.4. Cultures were incubated at 30 °C and 300 rpm until mid-exponential growth phase (OD600 = 10). Cell harvesting, metabolite extraction and sample preparation were performed as described previously [28]. For each strain, four biological replicates were prepared. For the generation of 13C-labeled internal standard, C. glutamicum ATCC 21831 was grown in shake flasks with [U13C]-glucose (1 % w/v, Cambridge Isotope Laboratories) as sole carbon source.

Highperformance Liquid Chromatography (HPLC)/ ESI-Quadrupole Time-of-flight (QTOF)MS Analysis

LC/MS data were obtained using a LaChromUltra (Hitachi Europe, UK) HPLC system coupled to a MicroTOF-Q-II hybrid quadrupole time-of-flight mass spectrometer (Bruker Daltonik, Bremen, Germany), equipped with an electrospray ionization (ESI) source. Chromatographic separation of metabolites was performed on a Cogent diamond hydride column (MicroSolv Technologies; 150 x 2.1 mm; 3 µm particles) operated in aqueous normal phase mode. Eluent A: 50 % acetonitrile (v/v), 50 % water (v/v) + 0.1 % (v/v) formic acid and B: 90 % acetonitrile (v/v), 10 % water (v/v) + 0.1 % (v/v) formic acid were prepared freshly and stored in PTFE bottles. Flow rate was set to 400 µL min-1 and linear gradient elution was performed as follows: t = 0 min, 100 % B; t = 6 min 0 % B; t = 7 min, 0 % B; t = 8.5 min 100 % B; t = 13 min 100 % B. MS detection was performed with ESI source operated in positive ionization mode (see Table S-1). Nitrogen was used as sheath, dry, and collision gas. Sodium formate solution (0.1 M) in 50 % (v/v) isopropanol was used for external mass calibration and was injected into the ESI source at the beginning of each analysis, using a switch valve and a segmented acquisition method. Spectra were obtained with a scan rate of 1 Hz and within an m/z range of 50 - 1000.

Recalibration of LC/MS data and file conversion

Automatic internal mass calibration using an HPC quadratic algorithm and file conversion to netCDF-file format was achieved using Compass DataAnalysis™ version 4.0 SP1 (Bruker Daltonik, Bremen, Germany).