**Validation of two multiplex platforms to quantify circulating markers of inflammation and endothelial injury in severe infection**

Aleksandra Leligdowicz1,2, Andrea Conroy3, Michael Hawkes4, Kathleen Zhong1, Gerald Lebovic5, Michael A. Matthay6,7, Kevin C. Kain1,2\*

**Supporting Information**

**S3 Table:** Comparison of reagents included in the Luminex® and EllaTM platform.

|  |  |  |  |
| --- | --- | --- | --- |
| **Biomarker** | **Recombinant Protein for Standard Curve** | **Capture monoclonal antibody** | **Detection monoclonal antibody** |
| **sVCAM-1** | Different | Different | Same |
| **sICAM-1** | Same | Same | Different |
| **sTNFR-1** | Same | Same | Same |
| **CHI3L1** | Same | Same | Same |
| **Ang-2** | Different | Different | Different |
| **sFlt-1** | Same | Different | Same |
| **IL-6** | Same | Same | Same |
| **IP-10** | Same | Different | Same |