## S2A Table
S2A Table. CT values from COVID-19 patient NP swabs or non-COVID-19 patient NP swabs following direct RT-qPCR versus standard RT-qPCR for SARS-CoV-2 RNA detection that includes RNA extraction. 90 NP swab samples representing low SARS-CoV-2 RNA loads (CT values of 27 to 36) or non-detected (e.g. negative) SARS-COV-2 RNA as determined by clinical RT-qPCR at UW in Seattle (labeled “original clinical RT-qPCR”) were analyzed by the indicated methods to establish the limit of detection and specificity of the direct RT-qPCR method. Direct RT-qPCR was performed on 3 µL of NP swab diluent after heating for 10 minutes at 95°C. In parallel, RNA was extracted from 200 µL of NP swab diluent (per the UW standard clinical protocol) that had been previously heated at 95°C and RNA representing 20 µL of the original diluent was used in RT-qPCR. Samples below the limit of detection (CT of 40 or more) are designated “NEG.” N2, 2019-nCoV_N2 primer/probe set. This data is linked to Fig 3.
|  | Original clinical RT-qPCR (20 µL swab diluent equivalent) | Direct RT-PCR (3 µL swab diluent) | Standard RT-qPCR (20 µL swab diluent equivalent)
| NP Swab Donor | No Heat | 95oC | 95oC
|  | N2 | N2 | N2
Experiment #4 | 1 | 27.03 | 38.4493 | 26.8193
| 2 | 27.05 | 38.467 | 26.5136
| 3 | 27.12 | 36.7042 | 25.843
| 4 | 27.15 | 35.8519 | 27.715
| 5 | 27.34 | 31.7763 | 26.3411
| 6 | 27.43 | 34.9515 | 25.6838
| 7 | 27.45 | NEG | 26.1379
| 8 | 27.59 | 39.4152 | 28.4636
| 9 | 27.93 | 35.3346 | 26.9314
| 10 | 28.15 | 37.1508 | 26.9221
| 11 | 28.63 | 34.9343 | 28.5731
| 12 | 29.55 | 37.8008 | 29.6403
| 13 | 29.81 | NEG | 30.784
| 14 | 30.24 | NEG | 30.424
| 15 | 30.38 | NEG | 29.9096
| 16 | 30.67 | 39.7624 | 31.3003
| 17 | 31.05 | 39.8026 | 31.5961
| 18 | 31.17 | NEG | 32.0339
| 19 | 31.26 | NEG | 31.6231
| 20 | 31.39 | NEG | 31.8189
| 21 | 31.8 | NEG | 32.6889
| 22 | 31.85 | NEG | 39.0557
| 23 | 32.59 | 39.3735 | 29.9889
| 24 | 32.73 | NEG | 35.6335
| 25 | 32.79 | NEG | 32.4991
| 26 | 32.82 | NEG | 33.2248
| 27 | 32.9 | NEG | 31.0485
| 28 | 33.06 | NEG | 33.9298
| 29 | 33.29 | NEG | 32.3777
| 30 | 33.4 | NEG | 33.838
| 31 | 33.57 | NEG | 33.0563
| 32 | 33.63 | NEG | 32.9035
| 33 | 33.85 | NEG | 32.1211
| 34 | 33.93 | NEG | 35.1886
| 35 | 34.14 | NEG | 36.731
| 36 | 34.29 | NEG | 34.8582
| 37 | 34.32 | NEG | 36.1135
| 38 | 34.39 | NEG | 33.7901
| 39 | 34.49 | NEG | 38.1992
| 40 | 34.68 | NEG | 34.0314
| 41 | 34.84 | NEG | 34.3001
| 42 | 34.92 | NEG | 34.1109
| 43 | 35.1 | NEG | 36.2186
| 44 | 35.19 | NEG | 35.3817
| 45 | 35.24 | NEG | 34.0848
| 46 | 35.3 | NEG | 36.04
| 47 | 35.35 | NEG | 35.5021
| 48 | 35.47 | NEG | 34.9875
| 49 | 35.49 | NEG | 34.1234
| 50 | 35.49 | NEG | 34.7221
| 51 | 35.5 | NEG | 35.6627
| 52 | 35.58 | NEG | 35.8557
| 53 | 35.59 | NEG | 36.5348
| 54 | 35.74 | NEG | 35.8832
| 55 | 35.99 | NEG | 36.643
| 56 | 36.03 | NEG | 38.6305
| 57 | 36.17 | NEG | 33.9657
| 58 | 36.26 | NEG | 35.5591
| 59 | 36.33 | NEG | NEG
| 60 | 36.39 | NEG | 38.1106
| 61 | NEG | NEG | NEG
| 62 | NEG | NEG | NEG
| 63 | NEG | NEG | NEG
| 64 | NEG | NEG | NEG
| 65 | NEG | NEG | NEG
| 66 | NEG | NEG | NEG
| 67 | NEG | NEG | NEG
| 68 | NEG | NEG | NEG
| 69 | NEG | NEG | NEG
| 70 | NEG | NEG | NEG
| 71 | NEG | NEG | NEG
| 72 | NEG | NEG | NEG
| 73 | NEG | NEG | NEG
| 74 | NEG | NEG | NEG
| 75 | NEG | NEG | NEG
| 76 | NEG | NEG | NEG
| 77 | NEG | NEG | NEG
| 78 | NEG | NEG | NEG
| 79 | NEG | NEG | NEG
| 80 | NEG | NEG | NEG
| 81 | NEG | NEG | NEG
| 82 | NEG | NEG | NEG
| 83 | NEG | NEG | NEG
| 84 | NEG | NEG | NEG
| 85 | NEG | NEG | NEG
| 86 | NEG | NEG | NEG
| 87 | NEG | NEG | NEG
| 88 | NEG | NEG | NEG
| 89 | NEG | NEG | NEG
| 90 | NEG | NEG | NEG

## S2B Table
S2B Table. CT values from COVID-19 patient NP swabs or non-COVID-19 patient NP swabs following direct RT-qPCR versus standard RT-qPCR for EXO RNA that was spiked into the swab diluent. 90 NP swab samples representing low SARS-CoV-2 RNA loads (CT values of 27 to 36) or non-detected (e.g. negative) SARS-COV-2 RNA as determined by clinical RT-qPCR at UW in Seattle were analyzed by the indicated methods. For the donors indicated, an aliquot of swab diluent was spiked with 4 x 104 copies of EXO control RNA prior to RNA extraction or direct addition of sample to the RT-qPCR reaction for subsequent detection with an EXO primer-probe set. Direct RT-qPCR was performed on 3 µL of NP swab diluent after heating for 10 minutes at 95°C. In parallel, RNA was also extracted from 200 µL of NP swab diluent (per the UW standard clinical protocol) that had been previously heated at 95°C for 10 minutes and RNA representing 20 µL of the original diluent was used in RT-qPCR. Samples below the limit of detection (CT of 40 or more) are designated “NEG.” EXO, EXO primer/probe set.
|  | Direct RT-PCR (3 µL swab diluent) | Standard RT-qPCR (20 µL swab diluent equivalent)
| NP Swab Donor | 95oC | 95oC
|  | EXO | EXO
Experiment #4 | 1 | 26.2409 | 25.8948
| 2 | 25.4248 | 27.8351
| 3 | 26.0343 | 26.377
| 4 | 25.6027 | 26.9211
| 5 | 26.1502 | 26.4031
| 6 | 25.5259 | 26.559
| 7 | 25.7291 | 26.3302
| 8 | 25.8583 | 26.7439
| 9 | 26.0296 | 27.3349
| 10 | 26.4922 | 27.6428
| 11 | 25.2142 | 26.8763
| 12 | 26.2042 | 26.8047
| 13 | 25.6907 | 26.9359
| 14 | 25.8643 | 26.8164
| 15 | 26.6132 | 28.7282
| 16 | 26.5664 | 26.665
| 17 | 25.9649 | 27.2581
| 18 | 25.8993 | 27.5045
| 19 | 26.1847 | 26.6864
| 20 | 25.0605 | 27.0329
| 21 | 27.5958 | 27.2137
| 22 | NEG | 27.0443
| 23 | 27.1468 | 26.4406
| 24 | 26.0672 | 29.0571
| 25 | 26.5599 | 26.9341
| 26 | 26.6692 | 27.4313
| 27 | 26.7576 | 28.3495
| 28 | 27.1234 | 27.0127
| 29 | 25.7718 | 27.4407
| 30 | 26.0745 | 27.103
| 31 | 27.1813 | 27.2991
| 32 | 26.3147 | 26.1354
| 33 | 26.2506 | 27.2206
| 34 | 25.4341 | 27.1957
| 35 | 26.5141 | 26.6701
| 36 | 26.4822 | 26.7091
| 37 | 25.8751 | 26.8791
| 38 | 26.253 | 27.3393
| 39 | 26.7161 | 26.9641
| 40 | 26.5683 | 26.7635
| 41 | 26.1081 | 27.2178
| 42 | 25.8721 | 27.005
| 43 | 25.8388 | 27.1848
| 44 | 27.449 | 26.6402
| 45 | 26.4901 | 26.9376
| 46 | 26.8574 | 27.0331
| 47 | 26.1947 | 26.5445
| 48 | 27.1765 | 27.1066
| 49 | 26.919 | 26.6981
| 50 | 26.8973 | 27.2367
| 51 | 26.46 | 26.787
| 52 | 26.3364 | 27.0246
| 53 | 26.1837 | 26.9553
| 54 | 26.1293 | 27.1856
| 55 | 26.3007 | 26.8095
| 56 | 26.0187 | 27.1731
| 57 | 26.9346 | 27.2174
| 58 | 26.2902 | 27.319
| 59 | 26.6936 | 26.9201
| 60 | 26.8721 | 26.8611
| 61 | 25.8017 | 27.0628
| 62 | 28.4906 | 27.4474
| 63 | 26.5598 | 26.9554
| 64 | 28.5003 | 27.1347
| 65 | 26.7848 | 27.3387
| 66 | 27.6369 | 27.0703
| 67 | 27.0217 | 27.1353
| 68 | 27.7801 | 27.0009
| 69 | 25.2761 | 27.4695
| 70 | NEG | 27.3715
| 71 | 27.2172 | 29.2035
| 72 | 27.6217 | 27.3604
| 73 | 27.561 | 27.7443
| 74 | 27.6333 | 27.8191
| 75 | 26.9166 | 27.4026
| 76 | 27.3928 | 27.2976
| 77 | 26.0209 | 26.7835
| 78 | 25.6367 | 27.0216
| 79 | 28.439 | 27.3296
| 80 | 27.5869 | 27.268
| 81 | 25.4074 | 27.537
| 82 | 27.4801 | 27.7766
| 83 | 26.9594 | 27.3568
| 84 | 27.5742 | 26.8866
| 85 | 26.73 | 26.9308
| 86 | 26.9838 | 27.3512
| 87 | 26.8966 | 27.1455
| 88 | 27.4802 | 27.6201
| 89 | 27.1147 | 27.268
| 90 | 27.1981 | 27.7283