## Survey_data
For yes/No questions: 0 = NO, 1=YES
NA= Not answered
RowName | q02new | q03 | q04 | q05 | q06 | q08 | q11 | q12 | q13 | q15new | q19 | q20 | q21 | q22 | q25 | q26new | q35 | q38new | q39new | q45 | q47new | q48 | q50
| 2. How many rabies samples do you test per week? | 3. How many people perform the tests in your lab? | 4. Has your laboratory a formal quality program? | 5. Has a person been appointed to be responsible for the implementation and maintenance of the quality system, with direct access to top level management? | 6. Have the laboratory quality policies and objectives been established in writing in a quality manual? | 8. Is access to the rabies laboratory restricted to the (rabies) testing personnel? | 11. Is the biological safety cabinet systems annually checked and verified? | 12. If you have a biological safety cabinet is it restricted for rabies testing? | 13. Do you have a fluorescence microscope? | 15. About how old is the scope? | 19. Are optical surfaces cleaned after every use? | 20. Are service and maintenance records available? | 21. Does the laboratory have calibration programs for the magnitudes or the essential values of the laboratory instruments? | 22. Does your laboratory have an official (institutional) DFA protocol? (You need to attach a copy with your response. | 25. Are approval and/or rejection criteria of samples established and written? | 26. What areas of the brain are tested routinely? | 35. How many anti-rabies conjugates do you use for each test? | 38. Do you use rabies negative control FITC labeled conjugate? (Choose all that apply) | 39. How long do you incubate the stained slides? | 45. How many people read slides per test? | 47. If you perform confirmatory testing. Which tests are performed? | 48. Do you participate in a proficiency program or rabies? | 50. Do you routinely check virus neutralizing antibody (VNA) titer of all employees working in the rabies laboratory?
1 | 31-50 | 5 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0-5 years | 1 | 1 | 1 | 1 | 1 | Medulla; cerebellum; hippocampus; pons; spinal cord (if available) | 1 | Do not use | 45 min | 2 | Repeat DFA with specificity control reagents and anti-bodies conjugates | 1 | 1
2 | 6 to 10 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0-5 years | 1 | 1 | 1 | 1 | 1 | Medulla oblongata (brain stem) | 2 | Do not use | 30 min | 1 | Repeat DFA with specificity control reagents and anti-bodies conjugates | 0 | 1
3 | 11 to 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16-20 years | 1 | 1 | 1 | 0 | 1 | Cerebellum; Hippocampus; Cortex | 1 | Do not use | 60 min | 1 | Mouse inoculation | 0 | 1
4 | 21-30 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 11-15 years | 1 | 1 | 1 | 0 | 1 | Hippocampus; Cerebellum; Cortex; Thalamus | 1 | Do not use | 30 min | 1 | Mouse inoculation | 1 | 1
5 | 00-05 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 11-15 years | 0 | 1 | 1 | 1 | 0 | Medulla; Cerebellum; Hippocampus; Cortex | 2 | Do not use | 30 min | 3 | NA | 1 | 1
6 | 11 to 20 | 3 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 6-10 years | 1 | 1 | 1 | 1 | 0 | Medulla oblongata (brain stem) | 1 | Rat Cerebellum | 20 min | 2 | RT-PCR | 0 | 0
7 | 11 to 20 | 3 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | Greater Than 20 | 1 | 1 | 0 | 1 | 0 | Medulla; Cerebellum; Hippocampus | 1 | Do not use | 30 min | 2 | RT-PCR | 0 | 0
8 | Single Report of 120 | 7 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 11-15 years | 1 | 1 | 1 | 1 | 0 | Hippocampus | 1 | Do not use | 30 min | 1 | NA | 0 | 1
9 | 50-100 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 6-10 years | 1 | 1 | 1 | 1 | 0 | Hippocampus | 1 | NA | 30 min | 1 | NA | 1 | 1
10 | 6 to 10 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16-20 years | 0 | 1 | 1 | 1 | 0 | Medulla; Cerebellum; Hippocampus; Cortex | 1 | Do not use | 30 min | 2 | NA | 0 | 1
11 | 50-100 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0-5 years | 0 | 1 | 1 | 1 | 0 | Cerebellum; Hippocampus; Cortex | 1 | Merck Millipore conjugado monoclonal (control negativo) #5102 | 40 min | 2 | NA | 1 | 1
12 | 00-05 | 4 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 6-10 years | 0 | 1 | 0 | 1 | 0 | NA | 1 | Do not use | 30 min | 1 | NA | 0 | 0
13 | 00-05 | 3 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | Greater Than 20 | 1 | 1 | 0 | 1 | 0 | Cerebellum; Hippocampus; Cortex | 1 | Negative Cerebellum Control Sample | 30 min | 1 | NA | 0 | 1
14 | 6 to 10 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0-5 years | 1 | 1 | 1 | 1 | 0 | Medulla oblongata (brain stem) | 1 | Do not use | 30 min | 3 | NA | 0 | 0
15 | 00-05 | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 11-15 years | 1 | 0 | 0 | 1 | 0 | NA | 1 | Do not use | 30 min | 1 | NA | 0 | 0
16 | 6 to 10 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0-5 years | 1 | 1 | 1 | 1 | 0 | NA | 1 | Do not use | 30 min | 2 | NA | 1 | 1
17 | 50-100 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0-5 years | 0 | 1 | 1 | 1 | 0 | Medulla; Cerebellum; Hippocampus | 1 | Do not use | 30 min | 2 | Cell Culture | 1 | 1
18 | 11 to 20 | 2 | 1 | 1 | 1 | 1 | NA | NA | 1 | 0-5 years | 1 | 1 | 1 | 1 | 0 | Cerebellum; Hippocampus; Cortex | 1 | Do not use | 30 min | 1 | NA | 0 | 0
19 | 00-05 | 3 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0-5 years | 1 | 0 | 0 | 1 | 0 | Cerebellum | 1 | Do not use | 30 min | 1 | NA | 0 | 1
20 | 00-05 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0-5 years | 1 | 1 | 1 | 0 | 0 | Hippocampus | 1 | Do not use | 15 min | 2 | NA | 0 | 1
21 | 50-100 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0-5 years | 1 | 1 | 1 | 1 | 0 | Cerebellum; Hippocampus; Cortex | 1 | Do not use | 30 min | 2 | NA | 0 | 1
22 | 00-05 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 11-15 years | 1 | 1 | 0 | 1 | 0 | Medulla; Cerebellum; Hippocampus; Cortex | 1 | Do not use | 30 min | 2 | NA | 0 | 0
23 | 00-05 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | Greater Than 20 | 1 | 1 | 0 | 0 | 0 | Cerebellum | 2 | EMD Millipore Light Diagnostics for Monoclonal Conjugate (Negative control) # 5102 | 30 min | 1 | NA | 1 | 0