# Table S1. Commercial information for marketed diagnostic tools for Vibrio cholerae

| Product name | Developer | Test format | Target | Intended use | Site to be used | Limit of detection | Turn-Around-Time |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Primer Design kit | Primer Design Ltd | RT-PCR | ctxB | In-vitro quantification of V. cholerae genome | Reference lab | <100copies target template | <2 hours |
| Cholera DNA Rapid (EZCholera Amp) | MITD, Universiti Sains Malaysia | Thermostable PCR | lolB (hemA) | Diagnosis in low-cost settings | Peripheral and reference labs | ~50ng for genomic DNA | 3hours |
| EZAmp Octaplex Cholera | MITD & INFORMM, USM | PCR | 8 genes (tetA, hemM, rfb, classical O1, El Tor & O139, ctx, zot, ace) | Clinical diagnosis and surveillance | Reference and peripheral labs | ~50ng for genomic DNA | 3-4 hours |
| EZDNA Amp | MBDr, Malaysia | Thermostable PCR | DNA | Clinical diagnosis and surveillance | Peripheral & reference labs | ~50ng for genomic DNA | 2 hours |
| Amp Cholera Genosensor | MBDr, Malaysia | Thermostable PCR | V. cholerae O1 (El Tor, Classical, Ogawa, Inaba), O139 and non-O1, non-O139 serogroups. | Clinical diagnosis and surveillance | Peripheral & reference labs | 10 CFU/μL | <8hours (inc 6hr incubation) |
| Cholera Vibrion O1/0139 Real Time PCR Kit, | Shanghai ZJ Bio-Tech Co., Ltd., China | RT-PCR | ctx gene | Detection ctx gene in excreta or water samples | Reference labs | <107copies/mL | 1hr |
| Cholera Vibrion Real Time PCR Kit | Shanghai ZJ Bio-Tech Co., Ltd., China | RT PCR | ctx gene | Detection ctx gene in excreta or water samples | Reference labs | <107copies/mL | 1hr |
| Cholera Vibrion (Gene CTX) Real Time PCR Kit | Shanghai ZJ Bio-Tech Co., Ltd., China | RT PCR | ctx gene | Detection ctx gene in excreta or water samples | Reference labs | <107copies/mL | 1hr |
| VET-RPLA toxin detection kit | Oxoid Inc., UK | RPLA | V. cholerae Enterotoxin | Detection in culture filtrates | Peripheral and reference labs | 1-2ng/ml | <24hr |
| Cholera Screen | New Horizons Diagnostics Co., USA | COAT | O1 LPS | ** | Field & health posts | ** | 15min |
| Bengal Screen | New Horizons Diagnostics Co., USA | COAT | O139 LPS | ** | Field & health posts | ** | 15min |
| IP dipstick | Institute Pasteur, France [not commercialized] | CIA | O1 LPS | Rapid detection of both Ogawa and Inaba serotypes of O1 | Health posts | 107CFU/mL | 15min |
| Crystal VC*** | Span Diagnostics Ltd., India | CIA | mAb to V. cholerae O1 and O139 LPS | Point of care testing & surveillance | Field & Health posts | 107 CFU/mL | 15-20min |
| Smart Q | SmarTest Diagnostics, Israel | CIA | V. cholerae O1&O139 | Qualitative detection of O1&O139 in environmental specimens (surfaces or powdered solids) | Health posts | 105 CFU/mL | 20min |
| Cholera SMART II | New Horizons Diagnostics Co., USA | CIA | mAb to A antigen of O1 LPS | Direct presumptive detection of V. cholerae O1 in stool samples | Health posts in epidemics and endemic areas and peripheral labs in endemic regions | 2x107 CFU/mL | 20min |
| Cholera O139 SMART II | New Horizons Diagnostics Co., USA | CIA | mAb to A antigen of O139 LPS | Direct presumptive detection of V. cholerae O139 in stool samples | Health posts in epidemics and endemic areas and peripheral labs in endemic regions | 2x107 CFU/mL | 15min |
| Cholera & Bengal SMART | New Horizons Diagnostics Co., USA | DFA | V. cholerae O1 & O139 | Quantitative for watery & solid stool samples, liquid & solid food samples | Health posts and peripheral labs | 2x1011 CFU/mL | 15min |
| Bengal DFA | New Horizons Diagnostics Co., USA | DFA | A antigen O139LPS | Direct detection of VC O139 in clinical, food & environmental samples | Peripheral or reference labs | 104CFU/mL | 10min |
| Cholera O1 DFA | New Horizons Diagnostics Co., USA | DFA | A antigen O1 LPS | Direct detection of VC O1 in clinical, food & environmental samples | Peripheral or reference labs | 104CFU/mL | <2hr |
| AccuTest | DTA Pty Ltd. | Membrane based sandwich CIA | V. cholerae | Quantitative for watery & solid stool, liquid & solid food samples | Health posts and peripheral labs | 105CFU/mL | <15min |
| Cholera Ag O1 | Standard Diagnostics Inc., Korea | CIA | Colloidal-gold-labeled V. cholerae O1 antibodies | Detect O1 in humam fecal specimens | Health posts | ** | 10-20min |
| Cholera Ag O1/O139 | Standard Diagnostics Inc., Korea | CIA | Mouse mAb anti- V. cholerae O1 & anti-O139. | Rapid, qualitative detection of O1 and O139 in fecal specimens | Health posts | ** | 10-20min |
| Cholera spot test | MBDr, Malaysia. | CIA | ** | V. cholerae | Health posts | 106 cfu/ml | <20min |
| QuickTest Cholera Cassette | ORGENICS, France | CIA | Cholera O1 Ag | Qualitative determination in human stool samples | Health posts | ** | 10min |

** Information not provided by manufacturer or product information. The following diagnostic tests not discussed above due to absence of information; Rapid Cholera sign (DEVARON), Rapid Cholera Strip (DEVARON), Rapid Cholera Flow (DEVARON), Pathogen detection kit (PDK, Intelligent Monitoring Systems, Gainesville, Florida, USA), RI50/2-00 Cholera Ab Dipstick  (A.M.S Diagnostics (previously known as R150/2-00 Megakwik Cholera Ab Card (Discontinued)), BioSign (PBM), Medicos dipstick (Advanced Diagnostics Inc., South Plainfield, NJ, USA), Quix rapid cholera strip test (Guardian Scientific Corp). *** Crystal VC is a  more recent manufactured form of the original IP dipstick. The following abbreviations were used: RT-PCR = Real time polymerase chain reaction, ctx  = cholera enterotoxin, MITD =Medical Innovation & Technology Development INFORMM =Institute for Research in Molecular Medicine USM = Universiti Sains Malaysia, MBDr =Malaysian Biodiagnostics Research Sdn Bhd., RPLA = Reversed passive latex agglutination, COAT = Coagglutination test, LPS = Lipo poly saccharide, CIA = chromatographic Immuno Assay, SMART = Sensitive Membrane Antigen Rapid Test, DFA = Direct  Fluorescence Antibody.