S4 Table. Intra-assay precision of the different ELISAs used in the study. Intra-assay precision (repeatability) was assessed by testing one negative sample and three positive samples 10 times in the same assay.

|  | Negative sample | Positive sample 1 | Positive sample 2 | Positive sample 3 |
| --- | --- | --- | --- | --- |
| NS1 plasma |
| Mean OD | 0.033 | 0.322 | 1.224 | 2.539 |
| SD | 0.001 | 0.017 | 0.031 | 0.045 |
| NS1 urine |
| Mean OD | 0.030 | 0.220 | 1.074 | 2.523 |
| SD | 0.003 | 0.008 | 0.024 | 0.043 |
| NS1 saliva |
| Mean OD | 0.024 | 0.130 | 0.495 | 1.260 |
| SD | 0.001 | 0.014 | 0.015 | 0.081 |
| MAC-ELISA plasma |
| Mean OD | 0.009 | 0.299 | 0.816 | 0.956 |
| SD | 0.002 | 0.009 | 0.028 | 0.015 |
| MAC-ELISA saliva |
| Mean OD | 0.015 | 0.099 | 0.698 | 1.063 |
| SD | 0.002 | 0.003 | 0.020 | 0.014 |
| AAC-ELISA plasma |
| Mean OD | 0.001 | 0.450 | 0.631 | 1.094 |
| SD | 0.002 | 0.007 | 0.016 | 0.015 |
| AAC-ELISA urine |
| Mean OD | 0.005 | 0.354 | 0.558 | 0.714 |
| SD | 0.003 | 0.023 | 0.036 | 0.020 |
| AAC-ELISA saliva |
| Mean OD | 0.004 | 0.110 | 0.952 | 1.420 |
| SD | 0.003 | 0.004 | 0.018 | 0.018 |
| IgG indirect ELISA plasma |
| Mean OD | 0.002 | 0.249 | 0.517 | 0.574 |
| SD | 0.002 | 0.017 | 0.016 | 0.015 |
| IgG indirect ELISA urine |
| Mean OD | 0.015 | 0.194 | 0.511 | 1.826 |
| SD | 0.001 | 0.004 | 0.009 | 0.035 |
| IgG indirect ELISA saliva |
| Mean OD | 0.014 | 0.141 | 0.222 | 0.481 |
| SD | 0.002 | 0.004 | 0.009 | 0.022 |

SD: Standard Deviation