Table S1: Correction factors for dosimetry calculations.

| Tube Potential (kVp) | 100 | 200 | 320 |
| --- | --- | --- | --- |
| Electrometer Correction1, | 0.999 | 0.999 | 0.999 |
| Temperature-Pressure Correction2, | 1.0135 | 1.0135 | 1.0126 |
| Ion Collection Efficiency, | 1.0007 | 1.0008 | 1.0015 |
| Polarity Correction3, | 1.0167 | 1.0083 | 1.0042 |

1Measured by Accredited Dosimetry Calibration Laboratory, University of Wisconsin – Madison, July 19, 2006

2Temperature and pressure depended on the measured situation.

3Electrometer bias set to -302 V for final dose measurement.

4Corrected reading