Table S1. List of POC-lab tests (adapted from Nougairède et al. [15]).

| Syndrome | Pathogen | Specimen | Test | Manufacturer | Turnaround time |
| --- | --- | --- | --- | --- | --- |
| Respiratory | Influenza virus | Naso-pharyngeal aspirate | ICT/Antigen | Becton Dickinson | 30 min |
|  | RSV | Naso-pharyngeal aspirate | ICT/Antigen | bioMérieux | 30 min |
|  | S. pneumoniae | Urine | ICT/Antigen | Inverness Medical | 30 min |
|  | L. pneumophila | Urine | ICT/Antigen | Inverness Medical | 30 min |
|  | B. pertussis | Sputum or naso-pharyngeal aspirate | Laboratory developed qPCR assay | - | 3.5 h |
|  | M. pneumoniae | Sputum or naso-pharyngeal aspirate | Laboratory developed qPCR assay | - | 3.5 h |
|  | C. burnetii | Sputum or naso-pharyngeal aspirate | Laboratory developed qPCR assay | - | 3.5 h |
|  | Procalcitonin | Serum | ICT/Antigen | BRAHMS | 45 min |
|  | S. pyogenes | Naso-pharyngeal swab | ICT/Antigen | Dectra Pharm | 30 min |
|  | EBV | Serum | Agglutination assay/Antibody | Oxoid | 30 min |
| Meningitis | Enterovirus | CSF | Commercially available qRT-PCR assay | Cepheid | 3 h |
|  | HSV-1/2 | CSF | Commercially available qPCR | Cepheid | 3.5 h |
|  | S. pneumoniae | CSF | Laboratory developed qPCR assay | - | 3.5 h |
|  | N. meningitidis | CSF | Laboratory developed qPCR assay | - | 3.5 h |
|  | M. pneumoniae | CSF | Laboratory developed qPCR assay | - | 3.5 h |
|  | C. neoformans | CSF | Agglutination assay/Antigen | Meridian Bioscience | 45 min |
| Digestive | Rotavirus-adenovirus | Stool/Rectal swab | ICT/Antigen | bioMérieux | 30 min |
|  | C. difficile | Stool/Rectal swab | ICT/Antigen | Techlab | 30 min |
|  | H. pylori | Stool/Rectal swab | ICT/Antigen | Meridian Bioscience | 30 min |
| Obstetrical | S. agalactiae | Vaginal swab | Commercially available qPCR | Cepheid | 2.5 h |
|  | HIV1/2 | Serum | ICT/Antibody | Inverness Medical | 30 min |
| Tropical | P. falciparum | Blood | ICT/Antigen | Core Diagnostics | 30 min |
|  | Dengue virus | Serum | ICT/Antigen and antibody | SD | 30 min |
| Other | C. tetani | Serum | ICT/Antibody | Zentech | 30 min |

CSF: cerebrospinal fluid, EBV: Epstein-Barr virus, HIV: human immunodeficiency virus, HSV: herpes simplex virus, ICT: immuno-chromatographic test, qPCR: quantitative real-time PCR, qRT-PCR: quantitative real-time reverse-transcriptase PCR, RSV: respiratory syncytial virus.