

**Table S9. Stability of IP-10 in plasma with storage at room temperature +23°C**

The stability of IP-10 in a plasma sample stored at room temperature was assessed. %Recovery is calculated by comparing the value of the treated sample to the reference (0 days) sample x100. Samples were within our acceptance range of 70-130%, indicating samples can be stored at room temperature for prolonged periods without significant loss in recovery.