Supplementary Information 1: Expected increase in the 15N isotopic fraction due to the presence of 15N-ENRICHED proteins in A SPUTTEL.

Case of a single spherical 15N-enriched protein

.

Consider first a sputtel ((/4) ((100)2(4.7 nm3. A depth of 4.7 nm was chosen since it is the estimated diameter of a TDG protein treated as a sphere of uniform density of 1.37 g/cm3 [1][2]. A primary beam diameter of 100 nm is routinely obtained with a NanoSIMS 50. Assume that this sputtel contains a single 15N-enriched TDG protein with, as measured, a 15N isotopic fraction [f=15N/(14N+15N)] of 0.98. Hence, this protein contains in average 553(0.98=542 15N atoms and 11 14N atoms. We estimated using the Kjeldahl method that an average COS-7 cell (mean volume 2.3(103 µm3) contains 2.89(1012 nitrogen atoms, i.e. a nitrogen density ρN = 2.89(1012/2.3(1012 = 1,26 at/nm3; this result is similar to published values for the human body: 1.34 at/nm3, calculated from the data of Frieden [3]. Therefore we estimated that the considered sputtel contained 51459 nitrogen atoms (this represents 100 proteins of a size similar to that of TDG). Taking into account the 15N natural abundance (0.00366) these nitrogen atoms include 188 15N isotopes and 51271 14N isotopes. Therefore, if the sputtel contains a single 15N-enriched TDG protein, the 15N isotopic fraction increases from r0=0.00366 to r = (542+188)/(553+51459) = 0.01404 if we consider that the TDG protein has been added to the molecules already present. Therefore the presence of a single TDG protein in the sputtel increases the local CN isotopic fraction by a factor 4.

This calculation assumes that the sputtel contains the entire enriched molecule which, therefore, is also entirely sputtered out. The sputtered thickness in our samples, however, is usually less than 4 nm. In this case, it is only a part of the enriched molecule which is sputtered out as illustrated in Figure S1. We assume that the sputtel has an area of ((L/2)2 nm² (L is the effective diameter of the primary beam on the sample surface, e.g. 100 nm) and a thickness e (1 nm in Figure S1) smaller than the protein diameter d (the protein is assumed to be a sphere). A series of successive sputtels is represented in Figure S1A. The initial surface of the sample (before sputtering) is chosen as the origin of the depth axis z positive downward. The successive sputtered layers, each of thickness e, are numbered 1, 2, ...(, ... from the initial sample surface. The top of the protein is located at an algebraic distance D from the origin of the depth axis (D is negative if the initial sample surface goes through the protein and hence the virtual top of the protein is outside the sample). Indeed, after the sputtering of (((1) layers and just before sputtering the (th layer, the top of the protein is located at a distance D( = D-(((1)e from the sample surface.

Assuming a uniform density of nitrogen atoms in the protein, we calculated the number of 15N and 14N atoms in each of these successive sputtels (by summing the atoms contained in and out of the volume occupied by the enriched protein). Eventually we calculated the 15N isotopic fraction r as a function of D( using the following equation:

where Vprotein=(d3/6 is the volume of the entire enriched protein, f the 15N isotopic fraction in this protein (0.98 for TDG and 0.94 for RXR(), N the total number of nitrogen atoms in the enriched protein, ρN the nitrogen density in COS-7 cells (see above), (L²/4 the sputtered area corresponding to a pixel and V (V is a function of D() the volume of the spherical segment of enriched protein in the sputtered layer given by

where (Figure S1A) rtop is the radius of the upper base of the spherical segment, rbottom the radius of the lower base and h, the height of the segment given in Table S1.

Table S1: Volumes of enriched protein in the successive sputtered layers 1,2,...,(,...

| D( = D((((1)e | h | r2top | r2bottom | V |
| --- | --- | --- | --- | --- |
| e< D( | 0 | 0 | 0 | 0 |
| 0< D((e | e(D( | 0 | ((D((e)(d+D((e) | ((e(D()2[3d(2(e(D()]/6 |
| (d+e< D((0 | e | (D( (D(+d) | ((D((e)(d+D((e) | (e[(6D((D(+d)+3e(d+2D()(2e2]/6 |
| (d<D(((d+e | d+D( | (D( (D(+d) | 0 | ((D(+d)2(d(2D()/6 |
| D(((d | 0 | 0 | 0 | 0 |

Figure S1B shows the obtained isotopic fraction in each successive sputtered layer represented in Figure S1A. It shows that the value of the isotopic fraction reaches a value close to that calculated above for the sputtering of the entire protein in one step (0.01404) in the 3rd and 6th layers. This fraction can even be higher (0.02 in the case of the layers 4 and 5); this is because the ratio of the relative volume of the protein segment in these thin sputtered layers is higher than when the entire protein is sputtered in one step.

We carried out similar calculations (not shown) in the case of a spherical protein 5.55 nm in diameter (the estimated diameter of a RXRα protein treated as a sphere of uniform density).

In conclusion, even though our calculations are based on a somewhat idealised model, they show that the presence of a single enriched protein in the sputtel increases the local 15N isotopic fraction by a factor 4 to 5. Such an increase should be easily measurable if the counting statistics is good enough (see below).

Case of one or several non-spherical 15N-enriched proteins

Even though numerous proteins can be modelled by a sphere, some cannot and are better shaped by an ellipsoid. In the following we consider the case where the protein is highly extended in one direction and can thus be modelled by a cylindrical rod. We study the two cases where one or two rods are both either parallel or perpendicular to the sample surface (Figure S2). The volume of the model rod is chosen as that of the spherical model protein Vprotein. Therefore the radius, a, of the cylinder section is given by a = (Vprotein/(Lc)1/2; where Lc is the length of the cylinder. The distances D1 and D2 of the 2 proteins from the initial sample surface are defined as shown in Figure S2. The volumes of enriched proteins in the successive sputtered layers are given in Tables S2 and S3 for a cylinder parallel or perpendicular to the sample surface, respectively. The sputtered layers are assumed of equal thickness. The 15N-isotopic fraction is calculated as explained above in the case of a spherical protein.

Table S2: Volumes of enriched protein in the successive sputtered layers 1,2,...,(,...(case of cylinder parallel to the sample surface)

| D( = D((((1)e | V* |
| --- | --- |
| D(>e | 0 |
| 0<D((e | (Lca2/2)[ω (sin ω] |
| (2a+e<D((0 | (Lca2/2)[(β ( sin β) ( (ω ( sin ω)] |
| (2a<D(((2a+e | (Lca2/2)[( ( (β ( sin β)] |
| D(((2a | 0 |

*: β = 2arccos((a+ D( )/a) and ω = 2arccos((a+ D((e)/a)

Table S3: Volumes of enriched protein in the successive sputtered layers 1,2,...,(,...(case of cylinder perpendicular to the sample surface)

| D( = D((((1)e | V |
| --- | --- |
| D(>e | 0 |
| 0<D((e | (a2[e ( D(] |
| (Lc+e<D((0 | (a2e |
| (Lc<D(((Lc+e | (a2[Lc + D(] |
| D((-Lc | 0 |

Figure S3 shows the calculated 15N isotopic fraction for 1 or 2 cylindrical proteins either parallel or perpendicular to the sample surface. In this example we chose a reasonable length Lc of 8 nm for the cylinder (hence its radius is 1.9 nm). The figure also shows the 15N isotopic fractions obtained with a spherical protein of same volume. Our calculations show that, as in the case of a spherical protein, the presence of a single cylindrical enriched protein in the sputtel increases substantially the local 15N isotopic fraction. Depending on the orientation of the cylinder relatively to the sample surface (perpendicular to parallel) the increase is by a factor 4 to 8.

Figure S3, however, shows that a similar increase in isotopic fraction can be obtained with a single spherical protein or 2 perpendicular cylindrical proteins at least for the 5 first sputtered layers. Therefore, in this particular case, there is a risk to wrongly conclude to the presence of 2 proteins whilst only 1 is present (or the converse). Nevertheless if the shape (actual protein dimensions) is known it can be discriminated between the two models (1 sphere or 2 rods) and therefore the real number of proteins that is being sputtered can be determined. Indeed, even if the shape of the protein is unknown, the complete sputtering of the protein (11 layers in the case of Figure S3) clearly permits to distinguish between the 1 sphere or 2 rods models (see layers 6 to 11 in Figure S3).

In Figure 2B we have shown that the sputtering of 2 spherical proteins with adequate distances relatively to the sample surface gives an increase of the isotopic fraction almost constant for 7 layers as in the case of 2 cylindrical proteins perpendicular to the surface (Figure S3). Moreover a similar increase in 15N isotopic fraction can be obtained in successive sputtered layers in the case of 2 spherical proteins (Figure 2C) and 2 cylindrical proteins parallel to the sample surface. Hence, even though the real shape of the protein is unknown, the determination of the number of sputtered proteins is reliable.

Supplementary references

1. 	Gekko K, Noguchi H (1979) Compressibility of globular proteins in water at 25 degree C. J Phys Chem 83: 2706–2714. doi:10.1021/j100484a006.

2. 	Squire PG, Himmel ME (1979) Hydrodynamics and protein hydration. Arch Biochem Biophys 196: 165–177.

3. 	Frieden E (1972) The chemical elements of life. Scientific American 227: 52–60.