| Author | Sample origin | ART +/- | # Samples | Spot µl | # Spots used | DBS elution volume | Elution process | Extraction method | Detection Platform (Plasma Input Volume) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HIV viral load |
| Andreotti et al | Malawi | 102 - 18 + | 129 | 75 | 1 | 2 ml | Overnight, room T | NucliSens miniMAG | COBAS Taqman** (500µl) |
| Arredondo et al | Spain | 70% - | 154 | 50 | 2 | 2ml | 2 hours, room T | M2000sp | M2000rt (NS) |
| Garrido et al (a) | Spain | NS | 97 | 50 | 1 | 2 ml | 2 hours, gentle rotation | Manual NucliSens kit | NucliSens easyQ v1.1 (NS) |
| Garrido et al (b) | Spain | NS | 97 | 50 | 1 | 2 ml | 2 hours, gentle rotation | M2000sp | M2000rt (NS) |
| Ikomey et al | Cameroon | NS | 60 | 50 | NS | 0.9ml RBC lysis | vortex 10 min, centrifuged 10 min | NS | Amplicor Monitor v1.5 (NS) |
| Kane et al | Senegal | NS | 41 | 50 | 2 | 2 ml | 30 min, R T | NucliSens MiniMAG | NucliSens easyQ v1.2 (100µl) |
| Leelawiwat et al | Thailand | 56+ | 56 | 50 | 1 | 0.9ml | 120 min, 250C | Manual NucliSens kit | Amplicor Monitor v1.5 (NS) |
| Lofgren et al | Tanzania | 73+ | 137 | 50 | 2 | 1.7ml | 2 hours, RT | M2000sp | M2000rt (600µl) |
| Marconi et al | Italy | NS | 168 | 50 | 2 | 2 ml | 2 hours, RT | M2000sp | M2000rt (1000 µl) |
| Mbida et al | Cameroon | 12+ | 41 | 50 | 2 | 1.7 ml | 2 hours | M2000sp | M2000rt (600µl) |
| Pirillo et al | France | NR | 98 | 50 | 1 | 1.25 ml | 30 min, RT | VERSANT preparation module | Versant HIV-1 kPCR (NS) |
| v Deursen et al | The Netherlands | 224+ | 224 | 50 | 2 | 2 ml | 30 min, | NucliSens easy MAG | NucliSens easyQ v2.0 (100µl) |
| Rottinghaus et al | Nigeria | 173+ | 173 | 100 | 1 | 2 ml | 30 min, RT | NucliSens easy MAG | NucliSens easyQ v1.1 (200µl) |
| Vidya et al | India | NS | 100 | 50 | 2 | 1.75 ml | 2 hours, 560C | M2000sp | M2000rt (1000µl) |
| Early infant diagnosis |
| Anitha et al | India | NR | 64 | NS | 1 | 100 ul | 3 hours, 560C, 10 min 1000C | Chelex-100 resin | Amplicor 1.5 (NS) |
| Leelawiwat et al | Thailand | 56+ | 162 | 50 | 1 | 0.9ml | 2 hours, RT, 80RPM | Manual NucliSens kit | NucliSens NASBA** (NS) |
| Nsojo et al | Tanzania | NS | 325 | 20 | 1 | 200ul | 15 min 600C, 1000C | NS | Amplicor 1.5 (NS) |
| Sherman et al | South Africa | NS | 287 | 20 | 1 | 200ul | 15 min 600C, 1000C | NS | Amplicor 1.5 (NS) |
| Stevens et al (a) | South Africa | NS | 812 | 70 | 7*3.2 mm | 200ul | 15 min 600C, 1000C | NS | Amplicor 1.5 (NS) |
| Stevens et al (b) | South Africa | NS | 812 | 70 | 1 | 1100ul | 10 min, 560C | Cobas Ampliprep | Taqman** (NS) |