**S7 Table.** **Average recoveries (*n* = 3) of spiked organotin standards (100 ng) into clean mussel samples.** Organotin standards include monobutyltin (MBT), dibutyltin (DBT), tributyltin (TBT), monophenyltin (MPT), diphenyltin (DPT), triphenyltin (TPT) and a surrogate standard (SS; ethyltri-*n*-propyltin).

|  |  |
| --- | --- |
| **Compound** | **Average recovery (%)** |
| MBT | 64.6 |
| DBT | 67.0 |
| TBT | 79.4 |
| MPT | 66.5 |
| DPT | 1.9 |
| TPT | 93.5 |
| SS | 73.4 |