S2 File. Methane determination

A US Agilent 7890 gas chromatograph fitted with a Carbonplot chromatographic column (60 m × 320 μm × 1.5 μm), TCD detector and an airtight needle for sample injection were used for the gas content determination. The injection volume was 0.5 mL. The chromatographic injection port temperature was 150°C, the column oven temperature was 25°C, and the detector temperature was 200°C.