**S3** **Table.** **Ten replicate measurements of length of a small and a medium size tumor to determine** a**ccuracy and precision of the photography and caliper methods.**

|  |  |
| --- | --- |
| **Supplementary Table S-III** |   |
|   |   | Small Tumor | Large Tumor |
| Method | Repeat # | Length (mm) | Length (mm) |
|   | 1 | 0.8 | 5.1 |
|  | 2 | 0.9 | 5.1 |
| C | 3 | 0.9 | 5.6 |
| A | 4 | 1.0 | 5.6 |
| L | 5 | 1.0 | 5.5 |
| I | 6 | 1.1 | 5.5 |
| P | 7 | 1.3 | 5.2 |
| E | 8 | 0.9 | 5.3 |
| R | 9 | 1.2 | 5.3 |
|   | 10 | 1.2 | 5.4 |
|   | **Mean** | **1.03** | **5.36** |
|   | Standard deviation | 0.16 | 0.19 |
|   | Relative standard deviation | 15.89 | 3.54 |
|  PHOTOGRAPHY   | 1 | 1.0 | 5.5 |
| 2 | 1.1 | 5.4 |
| 3 | 1.1 | 5.3 |
| 4 | 1.1 | 5.3 |
| 5 | 0.9 | 5.3 |
| 6 | 0.9 | 5.4 |
| 7 | 1.0 | 5.1 |
| 8 | 1.1 | 5.3 |
| 9 | 1.2 | 5.3 |
| 10 | 1.0 | 5.3 |
| **Mean** | **1.04** | **5.32** |
| Standard deviation | 0.10 | 0.10 |
| Relative standard deviation | 9.29 | 1.94 |