**Ahmad et al.**

**S1 Table:** Program with varied current ramp, voltage, duration and total current used to perform for isoelectric focusing of *P. hyterophorus* proteins.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Step no. | Current Ramp mode | Volts(V) | Duration(h) | Total Current (Vh) |
| 123456 | RapidRapidLinearLinearLinearSlow | 501503005002977.17500 | 1.00.50.52.0230.5 | 5075150100068475250=70000 |